## Slide 1: Wastewater General Permit Updates
CTACHMM December 6, 2016

## Slide 2: MISCELLANEOUS GENERAL PERMIT
Reverse osmosis reject Water Treatment Wastewater, moved from Group I to II
Added potable water maintenance/sampling water as Group III discharge
Arsenic monitoring for coagulation and flocculation treatment water treatment wastewater
Variance for public water treatment facilities process
Wastewaters transported to POTW certification and recordkeeping requirement

## Slide 3: Groundwater Remediation discharge General Permit
Combines previous separate GPs for surface/ground and sanitary sewer
CHMMs application and reporting certifications were in the previous permits
Combined GP has CHMM in certification and sanitary sewer reporting sections
Does not have CHMMs (or LEPs) in surface water discharge reporting certifications
Requested hearing (petition) and submitted comment letter
Status conference - DEEP indicated surface water reporting exclusion was oversight

## Slide 4: Comprehensive General Permit for Wastewater to Surface/Ground
Replaces non-contact cooling, water treatment wastewater, hydrostatic, boiler blowdown GPs (for surface/ground)
CHMMs excluded from application and reporting certifications
Petition and comment letter submitted
Status conference, DEEP based this permit on old permits which had PEs only
Pre-hearing conference today – requested CHMMs certify only pre-engineered/no treatment systems
  “Qualified CHMMs” for application (same experience as Pes)
  CHMMs for reporting certification